Low budget piezo buzzer z-stage for micro positioning

Robert Kretschmer1,2, Rainer Heintzmann1,2*

1 Leibniz Institute of Photonic Technology, Jena, Germany, 2 Institute of Physical Chemistry and Abbe Center of Photonics, Friedrich-Schiller-University, Jena, Germany * heintzmann@gmail.com

Abstract

We describe how to build a Z-stage for confocal microscopes from standard piezo buzzers. As a Z-stack generator serves an Arduino Due, which is controlled by a PC via a self-written GUI. The output voltage of the Arduinos DAC is amplified by a self-made voltage amplifier and drives the piezo buzzer.

Introduction

Piezo-driven Z-stages are precision tools that enable nm-accurate steps at a long range. They also offer fast response times, high stability and repeatability, making them ideal for demanding applications in microscopy and nanotechnology. These characteristics and the complexity of manufacturing contribute to the high cost. This is quite necessary for many experiments and justifies the high price.

The Z-scan in microscopy is a technique used to analyze the three-dimensional structure of an object. This involves shifting the microscope's focal plane along the Z-axis (depth axis) to capture images at different depth planes. This method makes it possible to reconstruct a complete 3D image of the object being examined. The Z-scan is particularly useful in confocal microscopy and fluorescence microscopy to obtain detailed information about the structure and composition of samples.

Piezzo Buzzer bending ability experiments

Development of a 3-point piezo buzzer stage

Development of a PC controlled Voltage amplifier stage using Arduino Due

Results

Conclusion

Supporting information

Acknowledgments

Author Contributions

References